## Confidentialité
Confidentialité
Ces résultats sont confidentiels et restreints au membres du Comité de pilotage de l'étude Trajectoire.
Toute diffusion plus large des résultats est à valider avec Artelys.

## Investissements
| Capacités installées en GW | [9 empty] | Capacités nouvelles en GW
Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire | 61.37 | 62.97 | 59.35 | 49.0724 | 39.4525 | 26.835 | 11.95 | 1.6 | 1.6 | Prolongement nucléaire | 0 | 0 | 11.385 | 23.7274 | 14.1251 | 11.1099 | 0 | 0 | 0
CCGT | 6.164 | 6.164 | 6.5498 | 5.7618 | 3.5768 | 0.96082 | 0.38582 | 0.38582 | 3.3596e-07 | Nucléaire EPR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OCGT | 1.85 | 1.3 | 2.0496 | 2.0496 | 0.99959 | 0.99959 | 0.99959 | 3.0187e-07 | 2.8991e-07 | CCGT | 0 | 0 | 0.38582 | 0 | 0 | 0 | 0 | 0 | 0
Charbon | 2.413 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OCGT | 0 | 0 | 0.99959 | 0 | 0 | 0 | 0 | 0 | 0
Autres thermiques (CHP fioul, gaz) | 6.5688 | 3.5663 | 2.3163 | 1.0663 | 0 | 0 | 0 | 0 | 0 | PV Sol fixe | 4.6386 | 10.9614 | 4.4 | 8.75 | 8.75 | 12.7308 | 2.1195 | 12.4853 | 23.95
PV Sol | 4.6386 | 15.6 | 20 | 28.75 | 37.5 | 46.25 | 66 | 79.2 | 94.4 | PV Sol tracker | 0 | 0 | 0 | 0 | 0 | 0.65779 | 28.5919 | 5.1147 | 0
PV Toitures | 5.4624 | 7.7327 | 10.002 | 13.502 | 17.002 | 20.502 | 26.002 | 30.202 | 29.9595 | PV Grandes Toitures | 3.8466 | 2.0767 | 2.0767 | 2.75 | 2.75 | 6.5966 | 6.8267 | 6.2767 | 2.5075
Eolien en mer Posé | 0 | 2.1 | 5 | 8.5 | 12 | 15.5 | 19 | 19 | 19 | PV Petites Toitures | 1.6158 | 0.22082 | 0.33656 | 0.97933 | 0.85359 | 2.196 | 1.0445 | 0.36915 | 1.1363
Eolien en mer Flottant | 0 | 0.75 | 1 | 1.9375 | 2.875 | 3.8125 | 4.75 | 4.75 | 4.75 | Eolien en mer Posé | 0 | 2.1 | 2.9 | 3.5 | 3.5 | 3.5 | 5.6 | 2.9 | 3.5
Eolien Terrestre | 17.391 | 23.6955 | 30 | 36.75 | 43.5 | 51.0286 | 63 | 75.6 | 90.72 | Eolien en mer Flottant | 0 | 0.75 | 0.25 | 0.9375 | 0.9375 | 0.9375 | 1.6875 | 0.25 | 0.9375
Energies Marines Renouvelables | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | Eolien Terrestre | 0 | 6.3268 | 7.0824 | 11.4279 | 10.8002 | 15.3913 | 18.2982 | 19.6824 | 26.5479
CHP Biogaz | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | 0.48362 | STEP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
CHP Biomasse | 0.6539 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | Batteries | 0 | 0 | 0 | 0.2104 | 0 | 0 | 0 | 0 | 0
CHP UIOM | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828 | 0.87828
Géothermie | 0.00185 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024 | 0.024
STEP | 5.18 | 5.18 | 5.18 | 5.18 | 5.18 | 5.18 | 5.18 | 5.18 | 7.18
Batteries | 4.1122e-07 | 8.1131e-07 | 1.4414e-06 | 0.2104 | 0.2104 | 0.2104 | 0.2104 | 3.356e-06 | 3.9788e-06
Hydro | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293
P2H2 (GW_H2) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Electrolyseurs optimisés | 0 | 0.35555 | 3.9049 | 10.543 | 16.2661 | 17.5804 | 30.4572 | 30.4572 | 30.4572
Electrolyseurs quasi-base | 0 | 1.7048 | 3.4096 | 4.9959 | 6.5821 | 8.1684 | 9.7546 | 9.7546 | 9.7546
Détail Nucléaire (GW) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire historique résiduel | 61.37 | 61.37 | 46.365 | 12.36 | 0 | 0 | 0 | 0 | 0
Nucléaire historique prolongé | 0 | 0 | 11.385 | 35.1124 | 37.8525 | 25.235 | 10.35 | 0 | 0
EPR | 0 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Détail EnR (GW) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
PV Sol fixe | 4.6386 | 15.6 | 20 | 28.75 | 37.5 | 45.5922 | 36.7503 | 44.8356 | 60.0356
PV Sol tracker | 0 | 4.6242e-11 | 5.2789e-10 | 1.292e-09 | 1.9851e-09 | 0.6578 | 29.2497 | 34.3644 | 34.3644
PV Sol total | 4.6386 | 15.6 | 20 | 28.75 | 37.5 | 46.25 | 66 | 79.2 | 94.4
PV Grandes Toitures | 3.8466 | 5.9233 | 8 | 10.75 | 13.5 | 16.25 | 21 | 25.2 | 24.9575
PV Petites Toitures | 1.6158 | 1.8094 | 2.002 | 2.752 | 3.502 | 4.252 | 5.002 | 5.002 | 5.002
PV Toitures total | 5.4624 | 7.7327 | 10.002 | 13.502 | 17.002 | 20.502 | 26.002 | 30.202 | 29.9595
Eolien Terrestre | 17.391 | 23.6955 | 30 | 36.75 | 43.5 | 51.0286 | 63 | 75.6 | 90.72
Eolien en mer Posé | 0 | 2.1 | 5 | 8.5 | 12 | 15.5 | 19 | 19 | 19
Eolien en mer Flottant | 0 | 0.75 | 1 | 1.9375 | 2.875 | 3.8125 | 4.75 | 4.75 | 4.75
Hydro | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293 | 25.293
Autres renouvelables | 2.2577 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259 | 2.4259
Total | 55.0427 | 77.5971 | 93.7209 | 117.1584 | 140.5959 | 164.812 | 206.4709 | 236.4709 | 266.5484
Capacités régionales en MW
Détail Eolien Terrestre | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 575.0485 | 730.0581 | 4365.5411 | 6071.0313 | 5991.3653 | 10619.792 | 12305.0957 | 13300 | 13300
Bourgogne-Franche-Comte | 919.8108 | 3785.2476 | 5548.9568 | 8591.0593 | 8304.7093 | 7763.2485 | 12020.9315 | 13600 | 13600
Bretagne | 1122.7981 | 1210.2275 | 1297.657 | 1391.2645 | 1484.8721 | 1578.4795 | 1672.0871 | 1672.0871 | 1672.0871
Centre-Val-de-Loire | 1099.451 | 1199.3464 | 1299.2418 | 1406.1962 | 4044.6244 | 3574.6144 | 9300 | 9300 | 9300
Grand-Est | 3879.4299 | 4189.3138 | 4043.1638 | 4130.8158 | 4218.4678 | 4306.1198 | 5235.055 | 6786.2841 | 8964.6834
Hauts-de-France | 5067.4035 | 5079.9821 | 5092.5607 | 5106.0282 | 7041.5352 | 5132.9632 | 6100 | 6100 | 6100
Ile-de-France | 108.305 | 143.5303 | 178.7557 | 216.4701 | 254.1846 | 291.8991 | 329.6136 | 329.6136 | 329.6136
Normandie | 955.4424 | 1049.7831 | 1144.1238 | 1245.131 | 1346.1382 | 1447.1453 | 1548.1525 | 1548.1525 | 1548.1525
Nouvelle-Aquitaine | 1211.621 | 1500.1822 | 1788.7433 | 2097.6953 | 2406.6473 | 2715.5993 | 3024.5513 | 8410.8885 | 17940.0965
Occitanie | 1289.4014 | 3269.6988 | 3591.2311 | 4737.6718 | 6532.8077 | 10266.4335 | 8274.636 | 11100 | 11100
Pays-de-la-Loire | 1144.6384 | 1257.383 | 1370.1277 | 1490.8393 | 1611.5509 | 1732.2626 | 1852.9742 | 1852.9742 | 5265.3669
Provence-Alpes-Cote-d'Azur | 17.65 | 280.747 | 279.897 | 265.797 | 263.097 | 1600 | 1336.903 | 1600 | 1600
Total | 17391 | 23695.5 | 29999.9999 | 36749.9999 | 43499.9999 | 51028.5572 | 63000 | 75600 | 90720
Capacités régionales en MW
Eolien en mer Posé | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bourgogne-Franche-Comte | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bretagne | 0 | 1.661e-09 | 1.8419e-06 | 5.4419e-06 | 701.2407 | 4201.2407 | 4600 | 4600 | 4600
Centre-Val-de-Loire | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grand-Est | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hauts-de-France | 0 | 500 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700
Ile-de-France | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Normandie | 0 | 1100 | 1100 | 3201.2407 | 6000 | 6000 | 6000 | 6000 | 6000
Nouvelle-Aquitaine | 0 | 500 | 500 | 500 | 500 | 500 | 2400 | 2400 | 2400
Occitanie | 0 | 0 | 8.0588e-08 | 2.0763e-07 | 2.4092e-07 | 3.7808e-07 | 800 | 800 | 800
Pays-de-la-Loire | 0 | 1.4149e-09 | 800 | 2198.7593 | 2198.7593 | 2198.7593 | 2600 | 2600 | 2600
Provence-Alpes-Cote-d'Azur | 0 | 0 | 900 | 900 | 900 | 900 | 900 | 900 | 900
Total | 0 | 2100 | 5000 | 8500 | 12000 | 15500 | 19000 | 19000 | 19000
Capacités régionales en MW
Eolien en mer Flottant | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bourgogne-Franche-Comte | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bretagne | 0 | 250 | 250 | 250 | 250 | 250 | 1312.5 | 1562.5 | 1562.5
Centre-Val-de-Loire | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grand-Est | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hauts-de-France | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ile-de-France | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Normandie | 0 | 0 | 1.5863e-07 | 1.68e-06 | 937.5 | 1875 | 2000 | 2000 | 2000
Nouvelle-Aquitaine | 0 | 0 | 9.2664e-09 | 1.3566e-08 | 1.5707e-08 | 1.7856e-08 | 1.7588e-08 | 1.794e-08 | 2.3464e-08
Occitanie | 0 | 250 | 500 | 1437.5 | 1437.5 | 1437.5 | 1187.5 | 937.5 | 937.5
Pays-de-la-Loire | 0 | 0 | 2.9325e-08 | 4.3616e-08 | 4.9821e-08 | 5.7263e-08 | 6.194e-08 | 5.9897e-08 | 7.995e-08
Provence-Alpes-Cote-d'Azur | 0 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250
Total | 0 | 750 | 1000 | 1937.5 | 2875 | 3812.5 | 4750 | 4750 | 4750
Capacités régionales en MW
PV Sol fixe | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 526.236 | 3810.462 | 5399.557 | 5918.0452 | 10794.0358 | 12168.732 | 8884.506 | 7295.4111 | 7295.4111
Bourgogne-Franche-Comte | 144.8627 | 322.0585 | 1910.261 | 6255.2409 | 7277.6761 | 7400 | 7222.8042 | 7222.8042 | 7222.8042
Bretagne | 116.2844 | 269.7546 | 331.3587 | 2467.1747 | 4599.7457 | 4915.0573 | 4761.5871 | 6400 | 6400
Centre-Val-de-Loire | 157.6737 | 310.1331 | 371.3314 | 493.0325 | 614.7337 | 736.4349 | 583.9755 | 522.7772 | 522.7772
Grand-Est | 267.5526 | 436.8671 | 504.8312 | 639.9871 | 775.1429 | 1491.5691 | 1322.2546 | 7200 | 7200
Hauts-de-France | 80.8078 | 369.0285 | 1001.8273 | 1001.8273 | 1001.8273 | 921.0196 | 632.7989 | 2017.6168 | 5000
Ile-de-France | 60.6058 | 132.3961 | 161.2132 | 218.52 | 275.8268 | 3000 | 2928.2097 | 3000 | 3000
Normandie | 87.706 | 153.9497 | 180.5404 | 233.4196 | 286.2988 | 339.178 | 392.0572 | 392.0572 | 2800
Nouvelle-Aquitaine | 1272.7225 | 1593.3364 | 1722.0331 | 1977.9642 | 2233.8952 | 2489.8262 | 2169.2123 | 2040.5156 | 8830.3604
Occitanie | 991.8662 | 1407.2641 | 1574.0079 | 2605.7206 | 2605.7206 | 2568.7859 | 4153.808 | 3987.0642 | 6564.2434
Pays-de-la-Loire | 274.4508 | 394.7499 | 443.0388 | 539.0679 | 635.097 | 3819.397 | 3699.0979 | 4757.3499 | 5199.9999
Provence-Alpes-Cote-d'Azur | 657.795 | 6400 | 6400 | 6400 | 6400 | 5742.205 | 7.1495e-07 | 4.6818e-07 | 4.0163e-07
Total | 4638.5635 | 15600 | 20000 | 28750 | 37500 | 45592.205 | 36750.3114 | 44835.5962 | 60035.5962
Capacités régionales en MW
PV Sol tracker | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 0 | 4.3118e-09 | 4.8972e-08 | 1.3716e-07 | 2.3033e-07 | 8.1206e-07 | 3315.494 | 4904.5889 | 4904.5889
Bourgogne-Franche-Comte | 0 | 3.2908e-09 | 4.3747e-08 | 1.0903e-07 | 1.6934e-07 | 3.3922e-07 | 177.1958 | 177.1958 | 177.1958
Bretagne | 0 | 2.908e-09 | 3.6006e-08 | 7.9114e-08 | 1.1627e-07 | 1.9037e-07 | 3.7974e-07 | 6.6105e-07 | 9.9954e-07
Centre-Val-de-Loire | 0 | 3.2962e-09 | 4.5221e-08 | 1.1542e-07 | 1.8384e-07 | 4.1468e-07 | 3787.3592 | 5877.2228 | 5877.2228
Grand-Est | 0 | 2.989e-09 | 3.706e-08 | 8.2617e-08 | 1.2284e-07 | 2.0614e-07 | 4.7074e-07 | 8.6769e-07 | 1.3075e-06
Hauts-de-France | 0 | 2.9649e-09 | 3.5482e-08 | 6.8755e-08 | 9.7821e-08 | 1.5893e-07 | 3.0674e-07 | 5.1669e-07 | 8.0884e-07
Ile-de-France | 0 | 3.1297e-09 | 4.0855e-08 | 9.5967e-08 | 1.4726e-07 | 2.7521e-07 | 9.3465e-07 | 2.1628e-06 | 2.8201e-06
Normandie | 0 | 2.8453e-09 | 3.4086e-08 | 7.3133e-08 | 1.0647e-07 | 1.6931e-07 | 3.2964e-07 | 5.5066e-07 | 8.3874e-07
Nouvelle-Aquitaine | 0 | 3.9136e-09 | 4.8036e-08 | 1.3288e-07 | 2.1935e-07 | 6.0909e-07 | 5569.6395 | 5569.6396 | 5569.6396
Occitanie | 0 | 7.9304e-09 | 5.539e-08 | 1.4292e-07 | 2.2689e-07 | 1.5177e-06 | 10000 | 11435.7566 | 11435.7566
Pays-de-la-Loire | 0 | 3.294e-09 | 4.487e-08 | 1.1221e-07 | 1.7619e-07 | 3.647e-07 | 3.9674e-06 | 4.9934e-05 | 5.0633e-05
Provence-Alpes-Cote-d'Azur | 0 | 5.3683e-09 | 5.8159e-08 | 1.4276e-07 | 1.8854e-07 | 657.795 | 6400 | 6400 | 6400
Total | 0 | 4.6242e-08 | 5.2789e-07 | 1.292e-06 | 1.9851e-06 | 657.795 | 29249.6886 | 34364.4038 | 34364.4038
Capacités régionales en MW
PV Grandes Toitures | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 436.394 | 487.1162 | 537.8383 | 605.0061 | 1356.1822 | 3656.3468 | 7956.5113 | 11981.2021 | 11914.0343
Bourgogne-Franche-Comte | 120.1309 | 146.5301 | 172.9293 | 207.8879 | 242.8465 | 277.805 | 312.7636 | 347.7222 | 312.7636
Bretagne | 96.4316 | 130.2272 | 164.0229 | 208.776 | 253.5291 | 298.2823 | 343.0354 | 387.7885 | 343.0354
Centre-Val-de-Loire | 130.7548 | 154.679 | 178.6032 | 210.2844 | 241.9655 | 273.6467 | 305.3278 | 305.3278 | 305.3278
Grand-Est | 221.8745 | 264.2885 | 306.7025 | 362.8684 | 419.0342 | 475.2001 | 531.366 | 587.5319 | 531.366
Hauts-de-France | 67.0118 | 107.1789 | 200.5365 | 200.5365 | 253.727 | 306.9175 | 360.108 | 360.108 | 360.108
Ile-de-France | 50.2589 | 80.0359 | 109.813 | 149.2446 | 188.6763 | 228.1079 | 267.5396 | 306.9712 | 267.5396
Normandie | 72.7323 | 99.2966 | 125.8609 | 161.038 | 196.2152 | 231.3924 | 266.5696 | 266.5696 | 266.5696
Nouvelle-Aquitaine | 1055.4361 | 1099.8229 | 1144.2097 | 1202.988 | 1261.7663 | 1320.5446 | 1379.3229 | 1379.3229 | 1379.3229
Occitanie | 822.5292 | 857.9753 | 893.4214 | 940.3602 | 987.299 | 1034.2378 | 1081.1766 | 1081.1766 | 1081.1766
Pays-de-la-Loire | 227.595 | 264.4166 | 301.2382 | 349.9984 | 398.7587 | 447.5189 | 496.2792 | 496.2792 | 496.2792
Provence-Alpes-Cote-d'Azur | 545.4925 | 2231.7536 | 3864.8241 | 6151.0115 | 7700 | 7700 | 7700 | 7700 | 7700
Total | 3846.6416 | 5923.3208 | 8000 | 10750 | 13500 | 16250 | 21000 | 25200 | 24957.523
Capacités régionales en MW
PV Petites Toitures | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 183.3088 | 195.6956 | 208.0824 | 256.3171 | 304.5517 | 352.7864 | 401.021 | 401.021 | 401.021
Bourgogne-Franche-Comte | 50.4614 | 56.39 | 62.3186 | 85.4048 | 108.4909 | 131.5771 | 154.6632 | 154.6632 | 154.6632
Bretagne | 40.5064 | 45.7155 | 50.9246 | 71.209 | 91.4933 | 111.7777 | 132.062 | 132.062 | 132.062
Centre-Val-de-Loire | 54.924 | 60.0871 | 65.2502 | 85.3554 | 105.4607 | 125.566 | 145.6712 | 145.6712 | 145.6712
Grand-Est | 93.1991 | 102.3262 | 111.4532 | 146.9942 | 182.5351 | 218.0761 | 253.617 | 253.617 | 253.617
Hauts-de-France | 28.1485 | 36.2567 | 237.9673 | 75.938 | 107.5112 | 139.0844 | 170.6576 | 170.6576 | 170.6576
Ile-de-France | 21.1114 | 28.5792 | 36.047 | 65.1269 | 94.2068 | 123.2867 | 152.3666 | 152.3666 | 152.3666
Normandie | 30.5515 | 35.7244 | 40.8973 | 61.0407 | 81.1841 | 101.3275 | 121.4709 | 121.4709 | 121.4709
Nouvelle-Aquitaine | 443.3395 | 457.4306 | 471.5217 | 526.3928 | 581.2639 | 636.135 | 691.0061 | 691.0061 | 691.0061
Occitanie | 345.5062 | 357.1043 | 368.7024 | 413.8658 | 459.0292 | 504.1926 | 549.356 | 549.356 | 549.356
Pays-de-la-Loire | 95.6021 | 101.9145 | 108.2269 | 132.8076 | 157.3883 | 181.969 | 206.5497 | 206.5497 | 206.5497
Provence-Alpes-Cote-d'Azur | 229.136 | 332.1733 | 240.6084 | 831.5477 | 1228.8848 | 1626.2215 | 2023.5587 | 2023.5587 | 2023.5587
Total | 1615.7949 | 1809.3974 | 2002 | 2752 | 3502 | 4252 | 5002 | 5002 | 5002
Capacités régionales en MW
Nucléaire historique résiduel | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 13570 | 13570 | 11745 | 1830 | 0 | 0 | 0 | 0 | 0
Bourgogne-Franche-Comte | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bretagne | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Centre-Val-de-Loire | 11630 | 11630 | 10320 | 1810 | 0 | 0 | 0 | 0 | 0
Grand-Est | 10820 | 10820 | 5600 | 3000 | 0 | 0 | 0 | 0 | 0
Hauts-de-France | 5460 | 5460 | 5460 | 910 | 0 | 0 | 0 | 0 | 0
Ile-de-France | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Normandie | 10640 | 10640 | 3990 | 0 | 0 | 0 | 0 | 0 | 0
Nouvelle-Aquitaine | 6630 | 6630 | 6630 | 4810 | 0 | 0 | 0 | 0 | 0
Occitanie | 2620 | 2620 | 2620 | 0 | 0 | 0 | 0 | 0 | 0
Pays-de-la-Loire | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Provence-Alpes-Cote-d'Azur | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 61370 | 61370 | 46365 | 12360 | 0 | 0 | 0 | 0 | 0
Capacités régionales en MW
Nucléaire prolongé | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 0 | 0 | 0 | 6867.426 | 6867.4263 | 1293.9342 | 911.1825 | 0 | 0
Bourgogne-Franche-Comte | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bretagne | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Centre-Val-de-Loire | 0 | 0 | 0.00010558 | 4920.0002 | 6730.0002 | 3120.0002 | 1310 | 0 | 0
Grand-Est | 0 | 0 | 5220 | 7820 | 10820 | 10820 | 2600 | 0 | 0
Hauts-de-France | 0 | 0 | 0 | 2730 | 3640 | 910 | 0 | 0 | 0
Ile-de-France | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Normandie | 0 | 0 | 6164.9998 | 10154.9998 | 5257.9359 | 4904.282 | 3636.346 | 0 | 0
Nouvelle-Aquitaine | 0 | 0 | 0 | 2620 | 4537.1376 | 4186.7837 | 1892.4715 | 0 | 0
Occitanie | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pays-de-la-Loire | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Provence-Alpes-Cote-d'Azur | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | 0 | 11384.9999 | 35112.426 | 37852.5 | 25235 | 10350 | 0 | 0
Capacités régionales en MW
Nucléaire EPR | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bourgogne-Franche-Comte | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bretagne | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Centre-Val-de-Loire | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grand-Est | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hauts-de-France | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ile-de-France | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Normandie | 0 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600
Nouvelle-Aquitaine | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Occitanie | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pays-de-la-Loire | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Provence-Alpes-Cote-d'Azur | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600

## Production
| Production en TWh | [8 empty] | Résumé Production Electricité | Production en TWh
Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire | 408.8915 | 406.4373 | 373.0286 | 304.5644 | 243.493 | 164.186 | 74.6719 | 10.2328 | 9.9973 | Nucléaire | 408.8915 | 406.4373 | 373.0286 | 304.5644 | 243.493 | 164.186 | 74.6719 | 10.2328 | 9.9973
CCGT | 0.7608 | 0.16472 | 0.56892 | 0.62112 | 0.58046 | 0.56213 | 0.43002 | 0.48146 | 2.2012e-06 | Turbines Gaz | 0.76343 | 0.16969 | 0.58177 | 0.63636 | 0.59255 | 0.59908 | 0.48118 | 0.48147 | 4.3188e-06
OCGT | 0.0026318 | 0.004972 | 0.012858 | 0.015238 | 0.012088 | 0.036956 | 0.051157 | 2.2847e-06 | 2.1176e-06 | Autres thermiques | 21.215 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0
Charbon | 8.6739 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PV | 13.3003 | 31.2025 | 39.5737 | 55.0026 | 70.5264 | 85.2759 | 123.4641 | 144.7244 | 162.8123
Autres thermiques (CHP fioul, gaz) | 12.5411 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0 | Eolien Terrestre | 34.7883 | 52.5281 | 70.355 | 92.7593 | 115.118 | 141.5134 | 175.1112 | 209.9461 | 251.3547
PV Sol | 5.9719 | 21.2231 | 26.5418 | 37.0301 | 47.8548 | 58.2116 | 89.4876 | 105.4867 | 123.8504 | Eolien en mer | 0 | 9.613 | 19.9778 | 35.2645 | 51.4317 | 67.2175 | 80.6229 | 80.6686 | 80.6686
PV Toitures | 7.3283 | 9.9794 | 13.0319 | 17.9725 | 22.6717 | 27.0643 | 33.9765 | 39.2377 | 38.962 | Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256
Eolien en mer Posé | 0 | 6.9073 | 16.3458 | 28.1593 | 40.5514 | 52.5622 | 62.2597 | 62.2597 | 62.2597 | Autres renouvelables | 7.5938 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084
Eolien en mer Flottant | 0 | 2.7057 | 3.632 | 7.1053 | 10.8803 | 14.6553 | 18.3632 | 18.4089 | 18.4089
Eolien Terrestre | 34.7883 | 52.5281 | 70.355 | 92.7593 | 115.118 | 141.5134 | 175.1112 | 209.9461 | 251.3547 | Résumé Production Electricité | Production en TWh
Energies Marines Renouvelables | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | 0.46127 | Catégories | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CHP Biogaz | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | Nucléaire | 408.8915 | 406.4373 | 373.0286 | 304.5644 | 243.493 | 164.186 | 74.6719 | 10.2328 | 9.9973
CHP Biomasse | 1.6038 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | 1.9621 | Turbines Gaz | 0.76343 | 0.16969 | 0.58177 | 0.63636 | 0.59255 | 0.59908 | 0.48118 | 0.48147 | 4.3188e-06
CHP UIOM | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | 3.144 | Autres thermiques | 21.215 | 6.8088 | 4.4223 | 2.0358 | 0 | 0 | 0 | 0 | 0
Géothermie | 0.0046997 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | 0.06097 | Renouvelables | 119.2079 | 164.8776 | 201.4404 | 254.5604 | 308.6101 | 365.5407 | 450.7321 | 506.8731 | 566.3695
Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | Part renouvelable | 21.67% | 28.51% | 34.76% | 45.31% | 55.84% | 68.93% | 85.71% | 97.93% | 98.27%
Total | 550.0778 | 578.2934 | 579.4731 | 561.7969 | 552.6957 | 530.3258 | 525.8852 | 517.5874 | 576.3668 | Part nucléaire | 74.33% | 70.28% | 64.37% | 54.21% | 44.06% | 30.96% | 14.2% | 1.977% | 1.735%
Production du stockage (TWh) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Consommation domestique | 467.6785 | 459.8374 | 458.6282 | 471.312 | 481.2226 | 488.6124 | 519.1201 | 521.9386 | 540.1884
STEP | 3.0651 | 3.8566 | 5.8271 | 5.8292 | 6.5172 | 6.7462 | 6.5597 | 7.0118 | 10.2153
Batteries | 2.1252e-06 | 3.9829e-06 | 6.9468e-06 | 0.07921 | 0.081285 | 0.087879 | 0.080901 | 1.0634e-05 | 9.2559e-06
P2H2 (TWh_H2) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Electrolyseurs optimisés | 0 | 1.5973 | 11.699 | 21.9658 | 30.9375 | 38.2708 | 61.7881 | 63.7039 | 76.1169
Electrolyseurs quasi-base | 0 | 7.8148 | 14.7334 | 21.008 | 27.6433 | 34.8507 | 41.3908 | 41.5589 | 42.6472
Production en TWh
Détail EnR | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
PV Sol fixe | 5.9719 | 21.2231 | 26.5418 | 37.0301 | 47.8548 | 57.0545 | 44.6533 | 53.3488 | 71.7124
PV Sol tracker | 0 | 2.6991e-11 | 3.6528e-10 | 9.0447e-10 | 1.3689e-09 | 1.1571 | 44.8343 | 52.1379 | 52.1379
PV Sol total | 5.9719 | 21.2231 | 26.5418 | 37.0301 | 47.8548 | 58.2116 | 89.4876 | 105.4867 | 123.8504
PV Grandes Toitures | 5.3111 | 7.707 | 10.589 | 14.4584 | 18.1697 | 21.5744 | 27.4986 | 32.7598 | 32.4841
PV Petites Toitures | 2.0172 | 2.2724 | 2.4429 | 3.514 | 4.502 | 5.49 | 6.4779 | 6.4779 | 6.4779
PV Toitures total | 7.3283 | 9.9794 | 13.0319 | 17.9725 | 22.6717 | 27.0643 | 33.9765 | 39.2377 | 38.962
Eolien Terrestre | 34.7883 | 52.5281 | 70.355 | 92.7593 | 115.118 | 141.5134 | 175.1112 | 209.9461 | 251.3547
Eolien en mer Posé | 0 | 6.9073 | 16.3458 | 28.1593 | 40.5514 | 52.5622 | 62.2597 | 62.2597 | 62.2597
Eolien en mer Flottant | 0 | 2.7057 | 3.632 | 7.1053 | 10.8803 | 14.6553 | 18.3632 | 18.4089 | 18.4089
Hydro | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256 | 63.5256
Autres renouvelables | 7.5938 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084 | 8.0084
Total | 119.2079 | 164.8776 | 201.4404 | 254.5604 | 308.6101 | 365.5407 | 450.7321 | 506.8731 | 566.3695
Production en TWh
Détail Eolien Terrestre | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 1.0755 | 1.4914 | 11.2808 | 15.9755 | 15.8265 | 28.3315 | 32.8275 | 35.4817 | 35.4817
Bourgogne-Franche-Comte | 1.8691 | 10.0413 | 15.0714 | 23.8229 | 23.2411 | 22.1408 | 34.2837 | 38.7872 | 38.7872
Bretagne | 2.1413 | 2.376 | 2.6985 | 3.3305 | 3.7313 | 4.1925 | 4.4412 | 4.4412 | 4.4412
Centre-Val-de-Loire | 2.2577 | 2.5401 | 2.841 | 3.4587 | 11.0698 | 10.1047 | 26.2891 | 26.2891 | 26.2891
Grand-Est | 7.5383 | 8.3723 | 8.0883 | 9.2149 | 10.2664 | 11.5889 | 14.0889 | 18.2637 | 24.1264
Hauts-de-France | 10.9202 | 10.9607 | 11.1078 | 11.925 | 18.5185 | 15.0986 | 17.9431 | 17.9431 | 17.9431
Ile-de-France | 0.20025 | 0.2914 | 0.38255 | 0.48024 | 0.60915 | 0.75533 | 0.85292 | 0.85292 | 0.85292
Normandie | 1.7231 | 1.9614 | 2.2277 | 2.717 | 3.119 | 3.655 | 3.9101 | 3.9101 | 3.9101
Nouvelle-Aquitaine | 2.2631 | 3.0564 | 3.8655 | 4.8575 | 6.0366 | 7.4653 | 8.3146 | 23.1219 | 49.318
Occitanie | 2.5804 | 8.1576 | 9.1849 | 12.7644 | 17.9736 | 28.8657 | 23.2654 | 31.2094 | 31.2094
Pays-de-la-Loire | 2.1829 | 2.4918 | 2.8205 | 3.4558 | 3.9748 | 4.7463 | 5.077 | 5.077 | 14.4267
Provence-Alpes-Cote-d'Azur | 0.036438 | 0.78772 | 0.78597 | 0.75686 | 0.75129 | 4.5689 | 3.8176 | 4.5689 | 4.5689
Total | 34.7883 | 52.5281 | 70.355 | 92.7593 | 115.118 | 141.5134 | 175.1112 | 209.9461 | 251.3547
Production en TWh
Eolien en mer Posé | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bourgogne-Franche-Comte | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bretagne | 0 | 1.4747e-12 | 3.4759e-09 | 1.2028e-08 | 2.4064 | 14.4171 | 15.7855 | 15.7855 | 15.7855
Centre-Val-de-Loire | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grand-Est | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hauts-de-France | 0 | 1.7036 | 5.7923 | 5.7923 | 5.7923 | 5.7923 | 5.7923 | 5.7923 | 5.7923
Ile-de-France | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Normandie | 0 | 3.9247 | 3.9247 | 11.4218 | 21.4076 | 21.4076 | 21.4076 | 21.4076 | 21.4076
Nouvelle-Aquitaine | 0 | 1.279 | 1.279 | 1.279 | 1.279 | 1.279 | 6.139 | 6.139 | 6.139
Occitanie | 0 | 0 | 1.1901e-10 | 2.9086e-10 | 3.5211e-10 | 5.7036e-10 | 2.231 | 2.231 | 2.231
Pays-de-la-Loire | 0 | 7.6971e-13 | 2.4687 | 6.7851 | 6.7851 | 6.7851 | 8.0232 | 8.0232 | 8.0232
Provence-Alpes-Cote-d'Azur | 0 | 0 | 2.8812 | 2.8812 | 2.8812 | 2.8812 | 2.8812 | 2.8812 | 2.8812
Total | 0 | 6.9073 | 16.3458 | 28.1593 | 40.5514 | 52.5622 | 62.2597 | 62.2597 | 62.2597
Production en TWh
Eolien en mer Flottant | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bourgogne-Franche-Comte | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bretagne | 0 | 0.97193 | 0.97193 | 0.97193 | 0.97193 | 0.97193 | 5.1026 | 6.0746 | 6.0746
Centre-Val-de-Loire | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grand-Est | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hauts-de-France | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ile-de-France | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Normandie | 0 | 0 | 3.2116e-10 | 3.7775e-09 | 3.775 | 7.5501 | 8.0534 | 8.0534 | 8.0534
Nouvelle-Aquitaine | 0 | 0 | 9.1975e-12 | 1.8743e-11 | 2.1169e-11 | 2.4876e-11 | 2.4161e-11 | 2.4731e-11 | 3.2542e-11
Occitanie | 0 | 0.92622 | 1.8524 | 5.3257 | 5.3257 | 5.3257 | 4.3995 | 3.4733 | 3.4733
Pays-de-la-Loire | 0 | 0 | 4.7343e-11 | 7.0338e-11 | 8.2351e-11 | 9.5216e-11 | 1.0311e-10 | 9.4897e-11 | 1.3332e-10
Provence-Alpes-Cote-d'Azur | 0 | 0.80759 | 0.80759 | 0.80759 | 0.80759 | 0.80759 | 0.80759 | 0.80759 | 0.80759
Total | 0 | 2.7057 | 3.632 | 7.1053 | 10.8803 | 14.6553 | 18.3632 | 18.4089 | 18.4089
Production en TWh
PV Sol fixe | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 0.68134 | 4.9336 | 6.9911 | 7.6624 | 13.9755 | 15.7554 | 11.5032 | 9.4457 | 9.4457
Bourgogne-Franche-Comte | 0.17003 | 0.37801 | 2.2421 | 7.342 | 8.542 | 8.6856 | 8.4776 | 8.4776 | 8.4776
Bretagne | 0.13452 | 0.31205 | 0.38332 | 2.854 | 5.321 | 5.6857 | 5.5082 | 7.4035 | 7.4035
Centre-Val-de-Loire | 0.18137 | 0.35675 | 0.42715 | 0.56714 | 0.70714 | 0.84713 | 0.67176 | 0.60136 | 0.60136
Grand-Est | 0.29683 | 0.48468 | 0.56008 | 0.71003 | 0.85998 | 1.6548 | 1.467 | 7.988 | 7.988
Hauts-de-France | 0.086147 | 0.39341 | 1.068 | 1.068 | 1.068 | 0.98188 | 0.67461 | 2.1509 | 5.3304
Ile-de-France | 0.066728 | 0.14577 | 0.1775 | 0.24059 | 0.30369 | 3.3031 | 3.224 | 3.3031 | 3.3031
Normandie | 0.09687 | 0.17004 | 0.1994 | 0.25781 | 0.31621 | 0.37462 | 0.43302 | 0.43302 | 3.0926
Nouvelle-Aquitaine | 1.594 | 1.9956 | 2.1568 | 2.4773 | 2.7979 | 3.1184 | 2.7169 | 2.5557 | 11.0598
Occitanie | 1.3478 | 1.9123 | 2.1389 | 3.5409 | 3.5409 | 3.4907 | 5.6446 | 5.418 | 8.9201
Pays-de-la-Loire | 0.32144 | 0.46234 | 0.5189 | 0.63137 | 0.74384 | 4.4734 | 4.3325 | 5.5719 | 6.0904
Provence-Alpes-Cote-d'Azur | 0.99477 | 9.6785 | 9.6785 | 9.6785 | 9.6785 | 8.6838 | 5.4977e-10 | 3.6485e-10 | 2.9914e-10
Total | 5.9719 | 21.2231 | 26.5418 | 37.0301 | 47.8548 | 57.0545 | 44.6533 | 53.3488 | 71.7124
Production en TWh
PV Sol tracker | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 0 | 2.783e-12 | 3.6093e-11 | 1.0006e-10 | 1.7073e-10 | 6.2808e-10 | 4.8916 | 7.2361 | 7.2361
Bourgogne-Franche-Comte | 0 | 1.6775e-12 | 2.9034e-11 | 7.0531e-11 | 1.1191e-10 | 2.2906e-10 | 0.23572 | 0.23572 | 0.23572
Bretagne | 0 | 1.3493e-12 | 2.4094e-11 | 5.6916e-11 | 7.3751e-11 | 1.2345e-10 | 2.5293e-10 | 4.7025e-10 | 7.0912e-10
Centre-Val-de-Loire | 0 | 1.6205e-12 | 2.9415e-11 | 7.334e-11 | 1.1939e-10 | 2.762e-10 | 4.9393 | 7.6648 | 7.6648
Grand-Est | 0 | 1.3034e-12 | 2.3064e-11 | 5.1701e-11 | 7.4995e-11 | 1.2877e-10 | 3.0428e-10 | 6.0729e-10 | 9.1374e-10
Hauts-de-France | 0 | 1.1958e-12 | 2.1118e-11 | 4.1164e-11 | 5.878e-11 | 9.3997e-11 | 1.8658e-10 | 3.315e-10 | 5.1999e-10
Ile-de-France | 0 | 1.4003e-12 | 2.5304e-11 | 5.9827e-11 | 9.0159e-11 | 1.7258e-10 | 6.2532e-10 | 1.7017e-09 | 2.1581e-09
Normandie | 0 | 1.169e-12 | 2.0245e-11 | 4.9046e-11 | 6.3896e-11 | 1.0419e-10 | 2.0825e-10 | 3.6801e-10 | 5.5933e-10
Nouvelle-Aquitaine | 0 | 2.3502e-12 | 3.7371e-11 | 9.3394e-11 | 1.5757e-10 | 4.4998e-10 | 7.9532 | 7.9532 | 7.9532
Occitanie | 0 | 5.958e-12 | 3.6862e-11 | 1.0978e-10 | 1.6716e-10 | 1.2798e-09 | 15.5569 | 17.7905 | 17.7905
Pays-de-la-Loire | 0 | 1.7035e-12 | 3.1647e-11 | 7.5871e-11 | 1.1856e-10 | 2.494e-10 | 3.3648e-09 | 5.7115e-08 | 5.5967e-08
Provence-Alpes-Cote-d'Azur | 0 | 4.4803e-12 | 5.1031e-11 | 1.2283e-10 | 1.6202e-10 | 1.1571 | 11.2576 | 11.2576 | 11.2576
Total | 0 | 2.6991e-11 | 3.6528e-10 | 9.0447e-10 | 1.3689e-09 | 1.1571 | 44.8343 | 52.1379 | 52.1379
Production en TWh
PV Grandes Toitures | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 0.54975 | 0.61364 | 0.67754 | 0.76215 | 1.7084 | 4.6061 | 10.0232 | 15.0933 | 15.0087
Bourgogne-Franche-Comte | 0.13567 | 0.16548 | 0.1953 | 0.23478 | 0.27426 | 0.31374 | 0.35322 | 0.3927 | 0.35322
Bretagne | 0.10747 | 0.14513 | 0.18279 | 0.23267 | 0.28254 | 0.33242 | 0.38229 | 0.43217 | 0.38229
Centre-Val-de-Loire | 0.1447 | 0.17117 | 0.19765 | 0.23271 | 0.26777 | 0.30283 | 0.33789 | 0.33789 | 0.33789
Grand-Est | 0.23685 | 0.28213 | 0.32741 | 0.38736 | 0.44732 | 0.50728 | 0.56723 | 0.62719 | 0.56723
Hauts-de-France | 0.068885 | 0.11018 | 0.20614 | 0.20614 | 0.26082 | 0.3155 | 0.37018 | 0.37018 | 0.37018
Ile-de-France | 0.053251 | 0.084801 | 0.11635 | 0.15813 | 0.19991 | 0.24169 | 0.28347 | 0.32525 | 0.28347
Normandie | 0.077446 | 0.10573 | 0.13402 | 0.17147 | 0.20893 | 0.24639 | 0.28385 | 0.28385 | 0.28385
Nouvelle-Aquitaine | 1.288 | 1.3422 | 1.3964 | 1.4681 | 1.5398 | 1.6116 | 1.6833 | 1.6833 | 1.6833
Occitanie | 1.0886 | 1.1355 | 1.1824 | 1.2446 | 1.3067 | 1.3688 | 1.4309 | 1.4309 | 1.4309
Pays-de-la-Loire | 0.76536 | 0.29799 | 0.33948 | 0.39443 | 0.44938 | 0.50433 | 0.55928 | 0.55928 | 0.55928
Provence-Alpes-Cote-d'Azur | 0.79513 | 3.2531 | 5.6335 | 8.9659 | 11.2238 | 11.2238 | 11.2238 | 11.2238 | 11.2238
Total | 5.3111 | 7.707 | 10.589 | 14.4584 | 18.1697 | 21.5744 | 27.4986 | 32.7598 | 32.4841
Production en TWh
PV Petites Toitures | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 0.23092 | 0.24653 | 0.26213 | 0.32289 | 0.38366 | 0.44442 | 0.50518 | 0.50518 | 0.50518
Bourgogne-Franche-Comte | 0.056988 | 0.063683 | 0.070379 | 0.096451 | 0.12252 | 0.1486 | 0.17467 | 0.17467 | 0.17467
Bretagne | 0.045142 | 0.050947 | 0.056752 | 0.079358 | 0.10196 | 0.12457 | 0.14718 | 0.14718 | 0.14718
Centre-Val-de-Loire | 0.060781 | 0.066494 | 0.072208 | 0.094457 | 0.11671 | 0.13896 | 0.1612 | 0.1612 | 0.1612
Grand-Est | 0.09949 | 0.10923 | 0.11898 | 0.15692 | 0.19486 | 0.2328 | 0.27074 | 0.27074 | 0.27074
Hauts-de-France | 0.028935 | 0.03727 | 0.24462 | 0.078061 | 0.11052 | 0.14297 | 0.17543 | 0.17543 | 0.17543
Ile-de-France | 0.022368 | 0.030281 | 0.038193 | 0.069004 | 0.099815 | 0.13063 | 0.16144 | 0.16144 | 0.16144
Normandie | 0.032532 | 0.03804 | 0.043548 | 0.064997 | 0.086446 | 0.10789 | 0.12934 | 0.12934 | 0.12934
Nouvelle-Aquitaine | 0.54104 | 0.55823 | 0.57543 | 0.64239 | 0.70936 | 0.77632 | 0.84328 | 0.84328 | 0.84328
Occitanie | 0.45728 | 0.47263 | 0.48798 | 0.54775 | 0.60752 | 0.6673 | 0.72707 | 0.72707 | 0.72707
Pays-de-la-Loire | 0.10774 | 0.11485 | 0.12197 | 0.14967 | 0.17737 | 0.20507 | 0.23277 | 0.23277 | 0.23277
Provence-Alpes-Cote-d'Azur | 0.334 | 0.48419 | 0.35072 | 1.2121 | 1.7913 | 2.3704 | 2.9496 | 2.9496 | 2.9496
Total | 2.0172 | 2.2724 | 2.4429 | 3.514 | 4.502 | 5.49 | 6.4779 | 6.4779 | 6.4779
Production en TWh
Nucléaire historique | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 90.981 | 88.8989 | 74.3848 | 54.0156 | 42.3797 | 7.9654 | 5.6579 | 0 | 0
Bourgogne-Franche-Comte | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bretagne | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Centre-Val-de-Loire | 77.4427 | 75.3957 | 65.5063 | 41.9084 | 41.6744 | 19.1908 | 8.1556 | 0 | 0
Grand-Est | 72.1541 | 71.406 | 67.9169 | 66.8001 | 66.454 | 65.7181 | 16.1835 | 0 | 0
Hauts-de-France | 36.2453 | 35.5285 | 34.8251 | 22.6336 | 22.3753 | 5.5248 | 0 | 0 | 0
Ile-de-France | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Normandie | 70.198 | 67.4125 | 62.9874 | 62.5262 | 32.488 | 29.9239 | 22.6346 | 0 | 0
Nouvelle-Aquitaine | 44.3093 | 42.4175 | 41.9185 | 46.7818 | 28.0928 | 25.8443 | 11.7566 | 0 | 0
Occitanie | 17.5611 | 16.7743 | 16.167 | 0 | 0 | 0 | 0 | 0 | 0
Pays-de-la-Loire | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Provence-Alpes-Cote-d'Azur | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 408.8915 | 397.8333 | 363.706 | 294.6657 | 233.4642 | 154.1674 | 64.3883 | 0 | 0
Production en TWh
Nucléaire EPR | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bourgogne-Franche-Comte | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bretagne | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Centre-Val-de-Loire | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grand-Est | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hauts-de-France | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ile-de-France | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Normandie | 0 | 8.6041 | 9.3227 | 9.8986 | 10.0287 | 10.0186 | 10.2836 | 10.2328 | 9.9973
Nouvelle-Aquitaine | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Occitanie | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pays-de-la-Loire | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Provence-Alpes-Cote-d'Azur | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | 8.6041 | 9.3227 | 9.8986 | 10.0287 | 10.0186 | 10.2836 | 10.2328 | 9.9973

## Taux de charge
Taux de charge en %
Technologie | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Nucléaire | 76.06% | 73.68% | 71.75% | 70.85% | 70.45% | 69.84% | 71.33% | 73.01% | 71.33%
CCGT | 1.409% | 0.3051% | 0.9916% | 1.231% | 1.853% | 6.679% | 12.72% | 14.25% | 74.79%
OCGT | 0.01624% | 0.04366% | 0.07162% | 0.08487% | 0.138% | 0.422% | 0.5842% | 86.4% | 83.38%
Charbon | 41.03% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Autres thermiques (CHP fioul, gaz) | 21.79% | 21.79% | 21.79% | 21.79% | 0% | 0% | 0% | 0% | 0%
PV Sol | 14.7% | 15.53% | 15.15% | 14.7% | 14.57% | 14.37% | 15.48% | 15.2% | 14.98%
PV Toitures | 15.31% | 14.73% | 14.87% | 15.2% | 15.22% | 15.07% | 14.92% | 14.83% | 14.85%
Eolien en mer Posé | 0% | 37.55% | 37.32% | 37.82% | 38.58% | 38.71% | 37.41% | 37.41% | 37.41%
Eolien en mer Flottant | 0% | 41.18% | 41.46% | 41.86% | 43.2% | 43.88% | 44.13% | 44.24% | 44.24%
Eolien Terrestre | 22.84% | 25.31% | 26.77% | 28.81% | 30.21% | 31.66% | 31.73% | 31.7% | 31.63%
Energies Marines Renouvelables | 21.94% | 21.94% | 21.94% | 21.94% | 21.94% | 21.94% | 21.94% | 21.94% | 21.94%
CHP Biogaz | 56.18% | 56.18% | 56.18% | 56.18% | 56.18% | 56.18% | 56.18% | 56.18% | 56.18%
CHP Biomasse | 28% | 28% | 28% | 28% | 28% | 28% | 28% | 28% | 28%
CHP UIOM | 40.86% | 40.86% | 40.86% | 40.86% | 40.86% | 40.86% | 40.86% | 40.86% | 40.86%
Géothermie | 29% | 29% | 29% | 29% | 29% | 29% | 29% | 29% | 29%
Hydro | 28.67% | 28.67% | 28.67% | 28.67% | 28.67% | 28.67% | 28.67% | 28.67% | 28.67%
P2H2 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Electrolyseurs optimisés | 0% | 51.28% | 34.2% | 23.78% | 21.71% | 24.85% | 23.16% | 23.88% | 28.53%
Electrolyseurs quasi-base | 0% | 52.33% | 49.33% | 48% | 47.94% | 48.7% | 48.44% | 48.64% | 49.91%
Taux de charge en %
Détail Eolien Terrestre | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 21.35% | 23.32% | 29.5% | 30.04% | 30.15% | 30.45% | 30.45% | 30.45% | 30.45%
Bourgogne-Franche-Comte | 23.2% | 30.28% | 31.01% | 31.66% | 31.95% | 32.56% | 32.56% | 32.56% | 32.56%
Bretagne | 21.77% | 22.41% | 23.74% | 27.33% | 28.69% | 30.32% | 30.32% | 30.32% | 30.32%
Centre-Val-de-Loire | 23.44% | 24.18% | 24.96% | 28.08% | 31.24% | 32.27% | 32.27% | 32.27% | 32.27%
Grand-Est | 22.18% | 22.81% | 22.84% | 25.47% | 27.78% | 30.72% | 30.72% | 30.72% | 30.72%
Hauts-de-France | 24.6% | 24.63% | 24.9% | 26.66% | 30.02% | 33.58% | 33.58% | 33.58% | 33.58%
Ile-de-France | 21.11% | 23.18% | 24.43% | 25.33% | 27.36% | 29.54% | 29.54% | 29.54% | 29.54%
Normandie | 20.59% | 21.33% | 22.23% | 24.91% | 26.45% | 28.83% | 28.83% | 28.83% | 28.83%
Nouvelle-Aquitaine | 21.32% | 23.26% | 24.67% | 26.43% | 28.63% | 31.38% | 31.38% | 31.38% | 31.38%
Occitanie | 22.85% | 28.48% | 29.2% | 30.76% | 31.41% | 32.1% | 32.1% | 32.1% | 32.1%
Pays-de-la-Loire | 21.77% | 22.62% | 23.5% | 26.46% | 28.16% | 31.28% | 31.28% | 31.28% | 31.28%
Provence-Alpes-Cote-d'Azur | 23.57% | 32.03% | 32.06% | 32.51% | 32.6% | 32.6% | 32.6% | 32.6% | 32.6%
Taux de charge en %
Eolien en mer Posé | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Bourgogne-Franche-Comte | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Bretagne | 0% | 10.14% | 21.54% | 25.23% | 39.17% | 39.17% | 39.17% | 39.17% | 39.17%
Centre-Val-de-Loire | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Grand-Est | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Hauts-de-France | 0% | 38.9% | 38.9% | 38.9% | 38.9% | 38.9% | 38.9% | 38.9% | 38.9%
Ile-de-France | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Normandie | 0% | 40.73% | 40.73% | 40.73% | 40.73% | 40.73% | 40.73% | 40.73% | 40.73%
Nouvelle-Aquitaine | 0% | 29.2% | 29.2% | 29.2% | 29.2% | 29.2% | 29.2% | 29.2% | 29.2%
Occitanie | 0% | 0% | 16.86% | 15.99% | 16.68% | 17.22% | 31.83% | 31.83% | 31.83%
Pays-de-la-Loire | 0% | 6.21% | 35.23% | 35.23% | 35.23% | 35.23% | 35.23% | 35.23% | 35.23%
Provence-Alpes-Cote-d'Azur | 0% | 0% | 36.54% | 36.54% | 36.54% | 36.54% | 36.54% | 36.54% | 36.54%
Taux de charge en %
Eolien en mer Flottant | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Bourgogne-Franche-Comte | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Bretagne | 0% | 44.38% | 44.38% | 44.38% | 44.38% | 44.38% | 44.38% | 44.38% | 44.38%
Centre-Val-de-Loire | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Grand-Est | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Hauts-de-France | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Ile-de-France | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Normandie | 0% | 0% | 23.11% | 25.67% | 45.97% | 45.97% | 45.97% | 45.97% | 45.97%
Nouvelle-Aquitaine | 0% | 0% | 11.33% | 15.77% | 15.39% | 15.9% | 15.68% | 15.74% | 15.83%
Occitanie | 0% | 42.29% | 42.29% | 42.29% | 42.29% | 42.29% | 42.29% | 42.29% | 42.29%
Pays-de-la-Loire | 0% | 0% | 18.43% | 18.41% | 18.87% | 18.98% | 19% | 18.09% | 19.04%
Provence-Alpes-Cote-d'Azur | 0% | 36.88% | 36.88% | 36.88% | 36.88% | 36.88% | 36.88% | 36.88% | 36.88%
Taux de charge en %
PV Sol fixe | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 14.78% | 14.78% | 14.78% | 14.78% | 14.78% | 14.78% | 14.78% | 14.78% | 14.78%
Bourgogne-Franche-Comte | 13.4% | 13.4% | 13.4% | 13.4% | 13.4% | 13.4% | 13.4% | 13.4% | 13.4%
Bretagne | 13.21% | 13.21% | 13.21% | 13.21% | 13.21% | 13.21% | 13.21% | 13.21% | 13.21%
Centre-Val-de-Loire | 13.13% | 13.13% | 13.13% | 13.13% | 13.13% | 13.13% | 13.13% | 13.13% | 13.13%
Grand-Est | 12.66% | 12.66% | 12.66% | 12.66% | 12.66% | 12.66% | 12.66% | 12.66% | 12.66%
Hauts-de-France | 12.17% | 12.17% | 12.17% | 12.17% | 12.17% | 12.17% | 12.17% | 12.17% | 12.17%
Ile-de-France | 12.57% | 12.57% | 12.57% | 12.57% | 12.57% | 12.57% | 12.57% | 12.57% | 12.57%
Normandie | 12.61% | 12.61% | 12.61% | 12.61% | 12.61% | 12.61% | 12.61% | 12.61% | 12.61%
Nouvelle-Aquitaine | 14.3% | 14.3% | 14.3% | 14.3% | 14.3% | 14.3% | 14.3% | 14.3% | 14.3%
Occitanie | 15.51% | 15.51% | 15.51% | 15.51% | 15.51% | 15.51% | 15.51% | 15.51% | 15.51%
Pays-de-la-Loire | 13.37% | 13.37% | 13.37% | 13.37% | 13.37% | 13.37% | 13.37% | 13.37% | 13.37%
Provence-Alpes-Cote-d'Azur | 17.26% | 17.26% | 17.26% | 17.26% | 17.26% | 17.26% | 8.778% | 8.896% | 8.502%
Taux de charge en %
PV Sol tracker | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 0% | 7.368% | 8.413% | 8.328% | 8.462% | 8.829% | 16.84% | 16.84% | 16.84%
Bourgogne-Franche-Comte | 0% | 5.819% | 7.576% | 7.385% | 7.544% | 7.708% | 15.19% | 15.19% | 15.19%
Bretagne | 0% | 5.297% | 7.639% | 8.213% | 7.241% | 7.403% | 7.603% | 8.121% | 8.099%
Centre-Val-de-Loire | 0% | 5.612% | 7.426% | 7.254% | 7.414% | 7.603% | 14.89% | 14.89% | 14.89%
Grand-Est | 0% | 4.978% | 7.104% | 7.144% | 6.969% | 7.131% | 7.379% | 7.99% | 7.978%
Hauts-de-France | 0% | 4.604% | 6.794% | 6.835% | 6.859% | 6.752% | 6.944% | 7.324% | 7.339%
Ile-de-France | 0% | 5.108% | 7.07% | 7.117% | 6.989% | 7.158% | 7.637% | 8.981% | 8.736%
Normandie | 0% | 4.69% | 6.78% | 7.656% | 6.851% | 7.025% | 7.212% | 7.629% | 7.613%
Nouvelle-Aquitaine | 0% | 6.855% | 8.881% | 8.024% | 8.2% | 8.433% | 16.3% | 16.3% | 16.3%
Occitanie | 0% | 8.576% | 7.597% | 8.769% | 8.411% | 9.626% | 17.76% | 17.76% | 17.76%
Pays-de-la-Loire | 0% | 5.903% | 8.051% | 7.718% | 7.681% | 7.806% | 9.682% | 13.06% | 12.62%
Provence-Alpes-Cote-d'Azur | 0% | 9.527% | 10.02% | 9.822% | 9.81% | 20.08% | 20.08% | 20.08% | 20.08%
Taux de charge en %
PV Grandes Toitures | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 14.38% | 14.38% | 14.38% | 14.38% | 14.38% | 14.38% | 14.38% | 14.38% | 14.38%
Bourgogne-Franche-Comte | 12.89% | 12.89% | 12.89% | 12.89% | 12.89% | 12.89% | 12.89% | 12.89% | 12.89%
Bretagne | 12.72% | 12.72% | 12.72% | 12.72% | 12.72% | 12.72% | 12.72% | 12.72% | 12.72%
Centre-Val-de-Loire | 12.63% | 12.63% | 12.63% | 12.63% | 12.63% | 12.63% | 12.63% | 12.63% | 12.63%
Grand-Est | 12.19% | 12.19% | 12.19% | 12.19% | 12.19% | 12.19% | 12.19% | 12.19% | 12.19%
Hauts-de-France | 11.73% | 11.73% | 11.73% | 11.73% | 11.73% | 11.73% | 11.73% | 11.73% | 11.73%
Ile-de-France | 12.1% | 12.1% | 12.1% | 12.1% | 12.1% | 12.1% | 12.1% | 12.1% | 12.1%
Normandie | 12.16% | 12.16% | 12.16% | 12.16% | 12.16% | 12.16% | 12.16% | 12.16% | 12.16%
Nouvelle-Aquitaine | 13.93% | 13.93% | 13.93% | 13.93% | 13.93% | 13.93% | 13.93% | 13.93% | 13.93%
Occitanie | 15.11% | 15.11% | 15.11% | 15.11% | 15.11% | 15.11% | 15.11% | 15.11% | 15.11%
Pays-de-la-Loire | 38.39% | 12.86% | 12.86% | 12.86% | 12.86% | 12.86% | 12.86% | 12.86% | 12.86%
Provence-Alpes-Cote-d'Azur | 16.64% | 16.64% | 16.64% | 16.64% | 16.64% | 16.64% | 16.64% | 16.64% | 16.64%
Taux de charge en %
PV Petites Toitures | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 14.38% | 14.38% | 14.38% | 14.38% | 14.38% | 14.38% | 14.38% | 14.38% | 14.38%
Bourgogne-Franche-Comte | 12.89% | 12.89% | 12.89% | 12.89% | 12.89% | 12.89% | 12.89% | 12.89% | 12.89%
Bretagne | 12.72% | 12.72% | 12.72% | 12.72% | 12.72% | 12.72% | 12.72% | 12.72% | 12.72%
Centre-Val-de-Loire | 12.63% | 12.63% | 12.63% | 12.63% | 12.63% | 12.63% | 12.63% | 12.63% | 12.63%
Grand-Est | 12.19% | 12.19% | 12.19% | 12.19% | 12.19% | 12.19% | 12.19% | 12.19% | 12.19%
Hauts-de-France | 11.73% | 11.73% | 11.73% | 11.73% | 11.73% | 11.73% | 11.73% | 11.73% | 11.73%
Ile-de-France | 12.1% | 12.1% | 12.1% | 12.1% | 12.1% | 12.1% | 12.1% | 12.1% | 12.1%
Normandie | 12.16% | 12.16% | 12.16% | 12.16% | 12.16% | 12.16% | 12.16% | 12.16% | 12.16%
Nouvelle-Aquitaine | 13.93% | 13.93% | 13.93% | 13.93% | 13.93% | 13.93% | 13.93% | 13.93% | 13.93%
Occitanie | 15.11% | 15.11% | 15.11% | 15.11% | 15.11% | 15.11% | 15.11% | 15.11% | 15.11%
Pays-de-la-Loire | 12.86% | 12.86% | 12.86% | 12.86% | 12.86% | 12.86% | 12.86% | 12.86% | 12.86%
Provence-Alpes-Cote-d'Azur | 16.64% | 16.64% | 16.64% | 16.64% | 16.64% | 16.64% | 16.64% | 16.64% | 16.64%
Taux de charge en %
Nucléaire | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 76.54% | 74.78% | 72.3% | 70.9% | 70.45% | 70.27% | 70.88% | 0% | 0%
Bourgogne-Franche-Comte | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Bretagne | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Centre-Val-de-Loire | 76.01% | 74.01% | 72.46% | 71.09% | 70.69% | 70.22% | 71.07% | 0% | 0%
Grand-Est | 76.13% | 75.34% | 71.65% | 70.48% | 70.11% | 69.34% | 71.06% | 0% | 0%
Hauts-de-France | 75.78% | 74.28% | 72.81% | 70.98% | 70.17% | 69.31% | 0% | 0% | 0%
Ile-de-France | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Normandie | 75.31% | 70.9% | 70.22% | 70.33% | 70.77% | 70.1% | 71.76% | 73.01% | 71.33%
Nouvelle-Aquitaine | 76.29% | 73.03% | 72.18% | 71.88% | 70.68% | 70.47% | 70.92% | 0% | 0%
Occitanie | 76.51% | 73.09% | 70.44% | 0% | 0% | 0% | 0% | 0% | 0%
Pays-de-la-Loire | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Provence-Alpes-Cote-d'Azur | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%

## Consommation
| Consommation en TWh | [8 empty] | Résumé Consommation par usage | Consommation en TWh
Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Chauffage Joule pilotable | 0 | 3.8119 | 5.5504 | 5.8447 | 5.7016 | 5.9149 | 5.9176 | 5.9176 | 5.9176 | Chauffage Joule | 48.492 | 38.1235 | 27.7552 | 23.3812 | 19.0072 | 16.9012 | 14.7952 | 14.7952 | 14.7952
Chauffage Joule non-pilotable | 48.492 | 34.3116 | 22.2048 | 17.5365 | 13.3056 | 10.9863 | 8.8776 | 8.8776 | 8.8776 | Chauffage PAC | 12.281 | 20.0401 | 27.8061 | 28.0242 | 28.2445 | 26.7411 | 25.2303 | 25.2326 | 25.2364
Chauffage PAC pilotable | 0 | 2.0069 | 5.572 | 7.0183 | 8.4884 | 9.3764 | 10.1062 | 10.1086 | 10.1124 | ECS et produits blancs | 117.936 | 105.566 | 93.2126 | 85.6915 | 78.17 | 73.0784 | 67.9858 | 67.9858 | 67.9861
Chauffage PAC non-pilotable | 12.281 | 18.0332 | 22.2341 | 21.0059 | 19.7562 | 17.3647 | 15.1241 | 15.1241 | 15.124 | Climatisation | 25.812 | 20.2173 | 14.6228 | 14.1691 | 13.7154 | 13.5803 | 13.4452 | 13.4452 | 13.4452
ECS pilotable | 0 | 10.073 | 17.5 | 16.3152 | 15.0982 | 14.4655 | 13.9696 | 13.9696 | 13.9698 | Véhicules électriques | 0.32384 | 10.5247 | 20.724 | 26.7116 | 32.6987 | 38.6818 | 44.6627 | 44.6627 | 44.6636
ECS non-pilotable | 27.432 | 13.9374 | 3.0942 | 2.6611 | 2.2604 | 1.9764 | 1.5552 | 1.5552 | 1.5552 | Industrie | 127.4018 | 121.8589 | 116.316 | 108.513 | 100.71 | 92.907 | 85.104 | 85.104 | 85.104
Produits blancs pilotables | 0 | 8.1405 | 10.8738 | 11.3222 | 12.1422 | 12.44 | 13.095 | 13.095 | 13.0951 | Autres | 135.432 | 130.788 | 122.472 | 126.7488 | 129.5136 | 127.9098 | 128.466 | 128.466 | 128.466
Produits blancs non-pilotables | 90.504 | 73.4151 | 61.7447 | 55.393 | 48.6691 | 44.1965 | 39.366 | 39.366 | 39.366 | Electrolyseurs | 0 | 12.719 | 35.7195 | 58.0728 | 79.1632 | 98.8129 | 139.431 | 142.2471 | 160.492
Climatisation pilotable | 0 | 2.0215 | 2.9242 | 3.5419 | 4.1142 | 4.7527 | 5.3776 | 5.3776 | 5.3777
Climatisation non-pilotable | 25.812 | 18.1958 | 11.6985 | 10.6272 | 9.6012 | 8.8276 | 8.0676 | 8.0676 | 8.0676 | Consommation domestique | 467.6785 | 459.8374 | 458.6282 | 471.312 | 481.2226 | 488.6124 | 519.1201 | 521.9386 | 540.1884
VE pilotables | 0.038777 | 1.8913 | 5.174 | 9.339 | 13.0665 | 19.3249 | 26.7799 | 26.7799 | 26.7808
VE non-pilotables | 0.28507 | 8.6334 | 15.5501 | 17.3726 | 19.6322 | 19.3568 | 17.8828 | 17.8828 | 17.8828
Industrie pilotable | 25.4803 | 36.5577 | 46.5264 | 46.118 | 45.3195 | 44.1308 | 42.552 | 42.552 | 42.552
Industrie non-pilotable | 101.9214 | 85.3012 | 69.7896 | 62.395 | 55.3905 | 48.7762 | 42.552 | 42.552 | 42.552 | Résumé Consommation pilotable | Consommation en TWh
Autres (non-pilotable) | 135.432 | 130.788 | 122.472 | 126.7488 | 129.5136 | 127.9098 | 128.466 | 128.466 | 128.466 | Composante | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Electrolyseurs optimisés | 0 | 2.1585 | 15.8095 | 29.6835 | 41.8074 | 51.7173 | 83.4975 | 86.0864 | 102.8607 | Chauffage pilotable | 0 | 5.8188 | 11.1225 | 12.8629 | 14.19 | 15.2912 | 16.0238 | 16.0262 | 16.03
Electrolyseurs quasi-base | 0 | 10.5605 | 19.91 | 28.3893 | 37.3558 | 47.0955 | 55.9335 | 56.1607 | 57.6313 | Climatisation pilotable | 0 | 2.0215 | 2.9242 | 3.5419 | 4.1142 | 4.7527 | 5.3776 | 5.3776 | 5.3777
[10 empty] | ECS et produits blancs pilotables | 0 | 18.2135 | 28.3737 | 27.6374 | 27.2405 | 26.9055 | 27.0646 | 27.0646 | 27.0649
Consommation du stockage (TWh) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060 | Véhicules électriques pilotables | 0.038777 | 1.8913 | 5.174 | 9.339 | 13.0665 | 19.3249 | 26.7799 | 26.7799 | 26.7808
STEP | 3.7841 | 4.7613 | 7.194 | 7.1965 | 8.0459 | 8.3287 | 8.0984 | 8.6565 | 12.6115 | Industrie pilotable | 25.4803 | 36.5577 | 46.5264 | 46.118 | 45.3195 | 44.1308 | 42.552 | 42.552 | 42.552
Batteries | 7.5809e-07 | 1.1685e-06 | 1.8179e-06 | 0.093997 | 0.096364 | 0.1041 | 0.095827 | 2.2855e-06 | 3.6301e-06 | Consommations non-pilotables | 442.1594 | 382.6157 | 328.7879 | 313.74 | 298.1288 | 279.3943 | 261.8912 | 261.8912 | 261.8912
[10 empty] | Electrolyseurs optimisés | 0 | 2.1585 | 15.8095 | 29.6835 | 41.8074 | 51.7173 | 83.4975 | 86.0864 | 102.8607
[10 empty] | Electrolyseurs quasi-base | 0 | 10.5605 | 19.91 | 28.3893 | 37.3558 | 47.0955 | 55.9335 | 56.1607 | 57.6313
[10 empty] | Consommation gaz PAC hybrides | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Echanges européens
Volumes en TWh | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Exports | 98.6806 | 137.6991 | 154.3962 | 145.7656 | 146.9986 | 142.8025 | 141.8419 | 146.5082 | 177.1486
Imports | 17.5082 | 20.148 | 35.1533 | 57.2757 | 78.0016 | 104.3079 | 138.1761 | 155.6813 | 148.8147
Bilan exportateur net | 81.1724 | 117.5511 | 119.2429 | 88.4898 | 68.997 | 38.4945 | 3.6659 | -9.1732 | 28.3338
Capacités en GW
Imports | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CentralEurope | 4.1 | 5.548 | 7 | 9 | 11 | 13 | 15 | 17 | 19
Iberia | 2.6 | 3.8 | 5 | 6.25 | 7.5 | 8.75 | 10 | 11.25 | 12.5
Italy | 1.31 | 1.654 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5
SouthEastEurope | 1.3 | 1.3 | 1.3 | 1.975 | 2.65 | 3.325 | 4 | 4.675 | 5.35
UKIreland | 2 | 4.5 | 7 | 8.25 | 9.5 | 10.75 | 12 | 13.25 | 14.5
Total | 11.31 | 16.802 | 22.3 | 27.975 | 33.65 | 39.325 | 45 | 50.675 | 56.35
Capacités en GW
Exports | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CentralEurope | 5.48 | 6.928 | 8.38 | 10.38 | 12.38 | 14.38 | 16.38 | 18.38 | 20.38
Iberia | 2.8 | 4 | 5.2 | 6.45 | 7.7 | 8.95 | 10.2 | 11.45 | 12.7
Italy | 3.2 | 3.544 | 3.89 | 4.39 | 4.89 | 5.39 | 5.89 | 6.39 | 6.89
SouthEastEurope | 3.15 | 3.15 | 3.15 | 3.825 | 4.5 | 5.175 | 5.85 | 6.525 | 7.2
UKIreland | 2 | 4.5 | 7 | 8.25 | 9.5 | 10.75 | 12 | 13.25 | 14.5
Total | 16.63 | 22.122 | 27.62 | 33.295 | 38.97 | 44.645 | 50.32 | 55.995 | 61.67

## Ecrêtement
Ecrêtement en TWh
| 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Auvergne-Rhone-Alpes | 6.7911e-08 | 3.6369e-07 | 0.015186 | 0.016379 | 0.060036 | 0.16092 | 0.1672 | 0.5893 | 0.56248
Bourgogne-Franche-Comte | 6.7304e-08 | 3.4784e-05 | 0.012387 | 0.056521 | 0.04004 | 0.048181 | 0.061608 | 0.2008 | 0.19971
Bretagne | 6.8908e-08 | 4.2729e-07 | 4.4948e-06 | 8.4564e-06 | 0.0038189 | 0.069177 | 0.054731 | 0.12168 | 0.21742
Centre-Val-de-Loire | 6.8424e-08 | 4.4545e-07 | 0.0006544 | 1.4573e-05 | 0.00055269 | 0.00015859 | 0.0076747 | 0.022962 | 0.062858
Grand-Est | 6.7629e-08 | 5.2961e-07 | 0.00074922 | 1.7982e-05 | 1.289e-05 | 1.8416e-05 | 1.2158e-05 | 0.0009752 | 0.026381
Hauts-de-France | 1.2778e-07 | 1.0604e-06 | 0.0047157 | 1.6749e-05 | 0.0031205 | 2.357e-05 | 1.3396e-05 | 1.723e-05 | 0.0013882
Ile-de-France | 6.7471e-08 | 3.4871e-07 | 4.2369e-06 | 9.1399e-06 | 7.4257e-06 | 9.942e-06 | 7.1473e-06 | 1.0495e-05 | 1.272e-05
Normandie | 7.0669e-08 | 6.442e-07 | 0.00043599 | 1.1648e-05 | 0.0040708 | 0.0013052 | 0.005296 | 0.013195 | 0.091148
Nouvelle-Aquitaine | 6.8263e-08 | 5.7597e-06 | 6.0148e-06 | 0.0002385 | 0.00036195 | 0.00088751 | 0.046146 | 0.19267 | 0.93047
Occitanie | 6.0979e-08 | 0.00083934 | 0.007863 | 0.039625 | 0.071608 | 0.25456 | 0.35749 | 0.76118 | 1.3639
Pays-de-la-Loire | 6.7731e-08 | 3.3416e-07 | 4.0919e-06 | 0.002226 | 0.0042818 | 0.033302 | 0.018697 | 0.04074 | 0.27966
Provence-Alpes-Cote-d'Azur | 6.0749e-08 | 0.0056637 | 0.20368 | 0.51037 | 0.75769 | 1.0797 | 0.85537 | 1.2737 | 1.7238
Total | 8.6381e-07 | 0.0065477 | 0.24569 | 0.62543 | 0.9456 | 1.6483 | 1.5742 | 3.2172 | 5.4593

## CO2_Emissions
Emissions de CO2 en ktonnes en France
| 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
CCGT | 421.8973 | 91.3438 | 255.8777 | 270.7011 | 245.8345 | 233.067 | 174.8708 | 195.7947 | 0.00089517
OCGT | 1.834 | 3.4653 | 7.9414 | 9.3083 | 7.0199 | 21.4649 | 29.7145 | 0 | 0
Charbon | 7431.9307 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Autres thermiques (CHP fioul, gaz) | 5643.5016 | 3063.9381 | 1990.0131 | 916.0881 | 0 | 0 | 0 | 0 | 0
Evitées par P2H2 | 0 | -2835.2411 | -7962.3653 | -12945.216 | -17646.5546 | -22026.7366 | -31081.0657 | -31708.8016 | -35775.8365
Bilan | 13499.1637 | 323.5061 | -5708.533 | -11749.1186 | -17393.7002 | -21772.2048 | -30876.4805 | -31513.0069 | -35775.8356
Emissions de CO2 en ktonnes en Europe sauf France
| 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Production électrique | 679494.0644 | 395164.3105 | 364526.2992 | 349010.8588 | 339316.3016 | 295006.9464 | 267257.6955 | 261983.2652 | 245736.9065
Evitées par P2H2 | 0 | -4540.1548 | -3616.8589 | -8361.5271 | -20237.1929 | -37899.1611 | -67624.0682 | -69656.8186 | -80635.1647
Bilan | 679494.0644 | 390624.1556 | 360909.4403 | 340649.3316 | 319079.1087 | 257107.7853 | 199633.6273 | 192326.4465 | 165101.7419
Emissions de CO2 en ktonnes en Europe
Bilan net toute Europe | 692993.2281 | 390947.6617 | 355200.9073 | 328900.2131 | 301685.4085 | 235335.5804 | 168757.1468 | 160813.4397 | 129325.9063
Baisse France/Baisse Europe | NA | 4.362% | 16.87% | 22.97% | 20.74% | 6.599% | 13.67% | 8.013% | 13.54%

## Coûts marginaux
Coûts marginaux (€/MWh)
| 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Moyenne temporelle | 30.1586 | 30.9448 | 30.3405 | 44.8697 | 53.3211 | 56.4935 | 69.4948 | 77.0487 | 63.8928
Moyenne énergie | 31.0251 | 33.3199 | 32.5751 | 46.7671 | 54.2556 | 57.3556 | 69.5913 | 76.9724 | 63.6901

## Prod_TWh (hidden)
|  | Biomass fleet | Bioplant storage fleet | CCGT fleet | Coal fleet | Electric Vehicles | Geothermal fleet | Hydro fleet | Lignite fleet | Lithium ion battery fleet | Marine fleet | Nuclear fleet | Ocean tidal fleet | Ocean Wave fleet | OCGT fleet | Oil fleet | Other renewable fleet | Other thermal fleet | Pumped storage fleet | Renewable thermal fleet | Solar fleet | Solar roof fleet | Solar small roof fleet | Wind floating fleet | Wind offshore fleet | Wind onshore fleet | Wind onshore new fleet
ademe_france_v0/C2020 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2025 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2030 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2035 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2040 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2045 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2050 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2055 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ademe_france_v0/C2060 | Test case 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## Installé_CAPA_MW (hidden)
Zone | Techno | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
France | Biomass fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Bioplant storage fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | CAES fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | CCGT fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Coal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Geothermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Hydro fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Lignite fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Lithium ion battery fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Marine fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Nuclear fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Ocean tidal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Ocean Wave fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | OCGT fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Oil fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Other renewable fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Other thermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Pumped storage fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Renewable thermal fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar roof fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Solar small roof fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind floating fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind offshore fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind onshore fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | Wind onshore new fleet | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2H2 industrie | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2H2 mobilités et autres industries | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
France | P2Heat | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!